Amesbury Fire Rescue

Chief Kenneth E. Berkenbush                  Assistant Chief David Mather                     Deputy Chief James Nolan

berkenbushk@amesburyma.gov                matherd@amesburyma.gov                        nolanj@amesburyma.gov

Ventless Gas Stove Installation

Fire Rules and Regulation

- Has to be Massachusetts approved

- Cannot be installed in a bedroom or bathroom

- Needs an ODS sensor- oxygen depletion sensor on it

- Needs to have a smoke detector and CO (carbon monoxide) detector in the room

- Needs to be installed per manufacturer’s recommendations

- Need to schedule a pre-inspection and a post inspection to be done by the fire department