
	
[image: image1.wmf] 


	Massachusetts Department of Environmental Protection 

Bureau of Resource Protection – Watershed Permitting Program

Sanitary Sewer Overflow (SSO)/Bypass Notification Form
	
FOR DEP USE ONLY

Tax Identification Number

	
	A. General Information 

	
	1.
Facility Information

	Important: When filling out forms on the computer, use only the tab key to move your cursor - do not use the return key.

[image: image2.png]



	Amesbury POTW
a.  Reporting Facility Permit Number 


	

	
	
MA1010745
b.  Name of Collection System/Treatment Works

	
	2. 
Authorized Representative filing this notification form:

	
	Brian
a.  First Name


	LeBlanc
b.  Last Name
	978-388-1912

 FORMTEXT 

c.  Telephone (10)



	
	
Asst. Chief Operator
d.  Title of Authorized Representative

 
	
leblancb@amesburyma.gov
e.  E-mail Address of Authorized Representative

  

	
	3.
Event Report Information

	
	
a.
Are you reporting: 
 FORMCHECKBOX 
 1. Unanticipated SSO or Bypass
 FORMCHECKBOX 
 2. Anticipated SSO or Bypass

	
	

	See DEP Regional Office telephone and fax numbers at the end of this form.
	B. Phone Notifications Made, if any:

	
	1.
MassDEP person contacted:
	DEP Hot Line
a.  first name


	     
b.  last name



	
	
Date/Time MassDEP contacted by phone:
	8/18/23
c.  Date  (mm/dd/yyyy)


	Time:
	2:00
d. hh:mm 


	
 FORMCHECKBOX 
 e. am


 FORMCHECKBOX 
 f. pm

	
	2.
EPA person contacted:
	     
a.  first name


	     
b.  last name 



	
	Date/Time EPA contacted by phone:
	     
c.  Date (mm/dd/yyyy)


	Time:
	     
d.  hh:mm 


	
 FORMCHECKBOX 
 e. am

 FORMCHECKBOX 
 f. pm

	
	3.
Others notified (select all that apply):

 FORMCHECKBOX 
 a. Conservation Commission
 FORMCHECKBOX 
 b. Board of Health

	
	
 FORMCHECKBOX 
 c. Harbormaster
 FORMCHECKBOX 
  d. Downstream WS
 FORMCHECKBOX 
  e. Watershed Association
 FORMCHECKBOX 
 f. Shellfish Warden

	
	
 FORMCHECKBOX 
 g. Other: 
	
all appropriate e-mail contacts
h. Specify

	
	C. General Information About SSO/Unanticipated Bypass

	
	1.
When did the event occur?
	8/18/23

 FORMTEXT 

a.  Date (mm/dd/yyyy)


	Time:
	2:00

 FORMTEXT 

b.  hh:mm (24hr.) 


	
 FORMCHECKBOX 
 c. am

 FORMCHECKBOX 
 d. pm

	
	2.
Location of event:
	77 Macy Street
a. Number and Street (or closest address)
	
42.85654N
b. latitude
	
70.93344W
c. longitude

	
	3.
Estimated volume of overflow discharge at the time of this report (select one):

	
	 FORMCHECKBOX 
 a.  > 1 million gallons (MG) 
	 FORMCHECKBOX 
 c.  > 10,000 gal. and < 100,000 gal.  

	
	 FORMCHECKBOX 
 b.  > 100,000 gal. and < 1 MG  
	 FORMCHECKBOX 
 d.  < 10,000 gal. 

	
	
e.
Method of estimating volume:
	Visual 

 FORMTEXT 



	
	4.
Where did the overflow discharge to? (e.g., surface water, ground)
	
Powwow River


	
	C. General Information About SSO/Unanticipated Bypass (cont.)

	
	5.
Identify causes of/reasons for the event: (select all that apply)

	
	 FORMCHECKBOX 
 a.  rain
	 FORMCHECKBOX 
 b.  snowmelt
	 FORMCHECKBOX 
 c.  high groundwater

	
	 FORMCHECKBOX 
 d.  insufficient capacity
	 FORMCHECKBOX 
 e.  sewer system blockage or collapse

	
	 FORMCHECKBOX 
 f.  pump/lift station failure
	 FORMCHECKBOX 
 g.  treatment facility equipment failure

	
	 FORMCHECKBOX 
 h. Other: FORMTEXT 

	
     
i. Specify

	
	6.
Have corrective actions been completed?
 FORMCHECKBOX 
 a.  Yes
 FORMCHECKBOX 
  b.  No
 FORMCHECKBOX 
 c. No Action Required

	
	7.
Corrective measures taken (select all that apply, or use Section E to attach additional comments):

	
	   FORMCHECKBOX 
 a. repaired sewer/cleared 
   blockage
	     FORMCHECKBOX 
 b . repaired pump/lift

          station
	     FORMCHECKBOX 
 c.  repaired service   

       connection  

	
	   FORMCHECKBOX 
 d.  drained or pumped  

           sewage out of building
	     FORMCHECKBOX 
 e.  disinfection treatment
	     FORMCHECKBOX 
 f.  backflow prevention 

       device installed

	
	   FORMCHECKBOX 
 g.  Other:
	See section E

 FORMTEXT 

h.  Specify



	
	D. General Information About Anticipated Bypass

	
	1.
When will the bypass occur?
	     

 FORMTEXT 

a.  Date (mm/dd/yyyy)


	Time:
	     

 FORMTEXT 

b.  hh:mm 


	
 FORMCHECKBOX 
 c. am


 FORMCHECKBOX 
 d. pm


	
	2.
Where will the bypass occur?
	     
a. Number and Street (or closest address)
	
     
b. latitude
	
     
c. longitude

	
	3.
Estimated volume of overflow discharge at the time of this report (select one):

	
	
 FORMCHECKBOX 
 a. < 100,000 gallons (MG) 
	
 FORMCHECKBOX 
 b.  > 100,000 gal. and < 1 MG
	
 FORMCHECKBOX 
 c.  > 1 million gallons (MG)

	
	
d.
Method of estimating volume:
	
     


	
	4.
Identify causes of/reasons for the event: (select all that apply)

	
	
 FORMCHECKBOX 
 a.  rain
	 FORMCHECKBOX 
 b.  snowmelt
	 FORMCHECKBOX 
 c.  high groundwater

	
	
 FORMCHECKBOX 
 d.  insufficient capacity
	 FORMCHECKBOX 
 e.  sewer system blockage or collapse

	
	
 FORMCHECKBOX 
 f.  pump/lift station failure
	 FORMCHECKBOX 
 g.  treatment facility equipment failure

	
	
 FORMCHECKBOX 
 g. Other: FORMTEXT 

	
     
i.  Specify 

	
	5.
Will an SSO occur during the bypass?
 FORMCHECKBOX 
 a.  Yes

	
	
a.1.
Where will SSO discharge to?
	
     


	
	
A 5-day follow-up report is required for the SSO.

	
	

	
	D. General Information About Anticipated Bypass (cont.)

	
	5.
 FORMCHECKBOX 
 b. No

	
	
Please be advised that if the anticipated bypass detailed above results in an unanticipated bypass/SSO, MassDEP must be notified within 24 hours and a new form completed.

	
	
Please provide comments in Section E detailing the preventive measures to be taken during the event.

	
	E. Comments/Attachments/Follow-up

	
	
I wish to provide (select all that apply):

	
	 FORMCHECKBOX 
  1. Attachment
 FORMCHECKBOX 
  2.  Additional comments below:
 FORMCHECKBOX 

3. No additional comments or attachments

	
	
2a.
Additional comments and planned actions:

	
	
This area has received a repair to try to fix the SSO problem that occurs in this area. That repair needs adjustment to achieve the results we would like, that wil occur when the flow subsides.


	
	

	
	

	
	F. Certification Statement

	
	
I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

	
	

	
	

	
	

	
	1. Signature of Authorized Representative
	
8/18/23

 FORMTEXT 

2. Date Signed

	
	
Please keep a copy of this report for your records. When submitting additional information, include the MassDEP Incident Number from this report.

	
	


	
	MassDEP Regional Office and EPA Telephone and Fax Numbers:

	
	
Northeast Region
	Phone:
978-694-3215
	Fax:  978-694-3499

	
	
Southeast Region
	Phone:
508-946-2750
	Fax:  508-947-6557

	
	
Central Region
	Phone:
508-792-7650
	Fax:  508-792-7621

	
	
Western Region
	Phone:
413-784-1100
	Fax:  413-784-1149

	
	
EPA Contact
	Phone:  617-918-1766
	

	
	
DEP 24-hour emergency
	Phone:  888-304-1133
	


	sso form • rev. 06/2008
	Wastewater Overflow/Bypass or Sewage Backup Notification • Page 1 of 3



_1056198550.doc
[image: image1.png]






